## Hárok1
Variable | Title | Description | Unit | Min | Max | Multiplier | Bms
gInputAI_1_Sup | Teplota Vstup | Analog input AI 1 as supply sensor (teplota na vstupe) | °C | -99.9 | 99.9 | 0.1 | Out
gInputAI_2_Exh | Teplota Vystup | Analog input AI 2 as exhaust sensor (teplota na vystupe) | °C | -99.9 | 99.9 | 0.1 | Out | INSERT INTO `attributes`(`variable`, `name`, `description`, `value`, `unit`, `multiplier`, `min`, `max`, `bms`, `created_at`, `updated_at`) VALUES ('gInputAI_1_Sup','Teplota Vstup','Teplota na vstupe','0','°C','0.1','-99.9','99.9','0',now(),now())
gInputAI_2_Room | Teplota Miestnosť | Analog input AI 2 as room sensor (teplota v miestnosti) | °C | -99.9 | 99.9 | 0.1 | Out | INSERT INTO `attributes`(`variable`, `name`, `description`, `value`, `unit`, `multiplier`, `min`, `max`, `bms`, `created_at`, `updated_at`) VALUES ('gInputAI_1_Sup','Teplota Vstup','Teplota na vstupe','0','°C','0.1','-99.9','99.9','0',now(),now())
gSet_ManSetpFreqExh_1 | Vystup | Setpoint for Exhaust fan in Low mode | % | 0.10 | 100.0 | 0.1 | In/Out | INSERT INTO `attributes`(`variable`, `name`, `description`, `value`, `unit`, `multiplier`, `min`, `max`, `bms`, `created_at`, `updated_at`) VALUES ('gInputAI_1_Sup','Teplota Vstup','Teplota na vstupe','0','°C','0.1','-99.9','99.9','0',now(),now())
gSet_ManSetpFreqExh_2 | Vystup | Setpoint for Exhaust fan in Econo mode | % | 0.10 | 100.0 | 0.1 | In/Out | INSERT INTO `attributes`(`variable`, `name`, `description`, `value`, `unit`, `multiplier`, `min`, `max`, `bms`, `created_at`, `updated_at`) VALUES ('gInputAI_1_Sup','Teplota Vstup','Teplota na vstupe','0','°C','0.1','-99.9','99.9','0',now(),now())
gSet_ManSetpFreqExh_3 | Vystup | Setpoint for Exhaust fan in Comfort mode | % | 0.10 | 100.0 | 0.1 | In/Out | INSERT INTO `attributes`(`variable`, `name`, `description`, `value`, `unit`, `multiplier`, `min`, `max`, `bms`, `created_at`, `updated_at`) VALUES ('gInputAI_1_Sup','Teplota Vstup','Teplota na vstupe','0','°C','0.1','-99.9','99.9','0',now(),now())
gSet_ManSetpFreqSup_1 | Vstup | Setpoint for Supply fan in Low mode | % | 0.10 | 100.0 | 0.1 | In/Out | INSERT INTO `attributes`(`variable`, `name`, `description`, `value`, `unit`, `multiplier`, `min`, `max`, `bms`, `created_at`, `updated_at`) VALUES ('gInputAI_1_Sup','Teplota Vstup','Teplota na vstupe','0','°C','0.1','-99.9','99.9','0',now(),now())
gSet_ManSetpFreqSup_2 | Vstup | Setpoint for Supply fan in Econo mode | % | 0.10 | 100.0 | 0.1 | In/Out | INSERT INTO `attributes`(`variable`, `name`, `description`, `value`, `unit`, `multiplier`, `min`, `max`, `bms`, `created_at`, `updated_at`) VALUES ('gInputAI_1_Sup','Teplota Vstup','Teplota na vstupe','0','°C','0.1','-99.9','99.9','0',now(),now())
gSet_ManSetpFreqSup_3 | Vstup | Setpoint for Supply fan in Comfort mode | % | 0.10 | 100.0 | 0.1 | In/Out | INSERT INTO `attributes`(`variable`, `name`, `description`, `value`, `unit`, `multiplier`, `min`, `max`, `bms`, `created_at`, `updated_at`) VALUES ('gInputAI_1_Sup','Teplota Vstup','Teplota na vstupe','0','°C','0.1','-99.9','99.9','0',now(),now())
gTSetp_Main | Teplota | Main temperature setpoint | °C | -99.9 | 99.9 | 0.1 | In/Out | INSERT INTO `attributes`(`variable`, `name`, `description`, `value`, `unit`, `multiplier`, `min`, `max`, `bms`, `created_at`, `updated_at`) VALUES ('gInputAI_1_Sup','Teplota Vstup','Teplota na vstupe','0','°C','0.1','-99.9','99.9','0',now(),now())
gFan_ExhStartCommand |  | Exhaust fan start command; 1 = Stop; 2 = Run | --- | -32768 | 32767 | 1.0 | Out | INSERT INTO `attributes`(`variable`, `name`, `description`, `value`, `unit`, `multiplier`, `min`, `max`, `bms`, `created_at`, `updated_at`) VALUES ('gInputAI_1_Sup','Teplota Vstup','Teplota na vstupe','0','°C','0.1','-99.9','99.9','0',now(),now())
gFan_SupStartCommand |  | Supply fan start command; 1 = Stop; 2 = Run | --- | -32768 | 32767 | 1.0 | Out
gOpMode_Main |  | General operating mode resulting from all sources. Controller works according to that value. 0 = Auto 1 = Off 2 = Standby 3 = Low 4 = Econo 5 = Comfort | --- | 0 | 5 | 1.0 | In/Out
fAlarm_AftRecoSens |  | Alarm flag for after recovery air temp sensor malfunction | --- | 0 | 1 | 1.0 | Out